**Routine Lab Safety Check**

|  |  |
| --- | --- |
| PI: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ | Department: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |
| Building/Lab #: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ | Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |
|  |  |

* = ok O = deficiency identified

|  |  |  |
| --- | --- | --- |
| Category | Item | Comments |
|  | Emergency contacts listed on door sign are current |  |
|  | Gas cylinders are secured with a strap |  |
|  | Hoses (gas, chemical, water) and fittings are in good condition and secure |  |
|  | Personal protective equipment is available and used |  |
|  | Proper lab attire is being worn (safety glasses, long pants, closed toed shoes) |  |
|  | Eating and drinking in lab is prohibited |  |
|  | Electrical cords are in good condition and out of travel paths |  |
|  | Incompatible gases and chemicals are properly segregated |  |
|  | Pink regulated waste tags are affixed to each waste container and content listed |  |
|  | Hazardous waste storage areas are being inspected each week |  |
|  | Laboratory hoods are organized and free of clutter |  |
|  | Laboratory hoods are indicating adequate flow rate (typically reading 100 fpm or showing a green light) |  |
|  | Eyewashes have been flushed and are readily accessible |  |
|  | Chemical containers are labeled with contents |  |
|  | Housekeeping in the lab is acceptable |  |
|  | Sharps (needles, blades, broken glass, glass capillary tubes, microscope slides) are placed in a rigid, puncture resistant container. Biohazardous sharps are placed in a red container. |  |
|  | Hazardous materials, particularly those by sinks, are in secondary containers |  |